SECTION 088000 GLAZING

PART 1 – GENERAL

* 1. GENERAL PROVISIONS
     1. Attention is directed to the CONTRACT AND GENERAL CONDITIONS and all Sections within DIVISION 01 - GENERAL REQUIREMENTS which are hereby made a part of this Section of the Specifications.
  2. DESCRIPTION OF WORK
     1. Work Included: Provide labor, materials and equipment necessary to complete the work of this Section, including but not limited to the following:
        1. Glass and glazing for the following products and applications:

***SPECIFIER: EDIT THE FOLLOWING SECTION:***

* + - * 1. Fiberglass windows in Section 085413 – FIBERGLASS WINDOWS
        2. Steel doors, frames and sidelights specified in Section 081110 - HOLLOW METAL DOORS AND FRAMES.
        3. Skylights specified in Section 086300 - METAL-FRAMED SKYLIGHTS.
    1. Related Work: The following items are not included in this Section and are specified under the designated Sections:

***SPECIFIER: EDIT THE FOLLOWING SECTION:***

* + - 1. Section 064020 - INTERIOR ARCHITECTURAL WOODWORK for glass at millwork.
      2. Section 081400 - FLUSH WOOD DOORS for factory glazing for wood doors.
      3. Section 083513 - FOLDING DOORS for factory glazing for folding doors.
      4. Section 084226 - ALL-GLASS ENTRANCES for factory glazing for entrances.
      5. Section 085413 - FIBERGLASS WINDOWS for factory glazing for wood windows.
  1. DEFINITIONS
     1. Manufacturers of Glass Products: Firms that produce primary glass, fabricated glass, or both, as defined in referenced glazing publications.
     2. Glass Thicknesses: Indicated by thickness designations in millimeters according to ASTM C 1036.
     3. Interspace: Space between lites of an insulating-glass unit that contains dehydrated air or a specified gas.
     4. Deterioration of Coated Glass: Defects developed from normal use that are attributed to the manufacturing process and not to causes other than glass breakage and practices for maintaining and cleaning coated glass contrary to manufacturer's written instructions. Defects include peeling, cracking, and other indications of deterioration in metallic coating.
     5. Deterioration of Insulating Glass: Failure of hermetic seal under normal use that is attributed to the manufacturing process and not to causes other than glass breakage and practices for maintaining and cleaning insulating glass contrary to manufacturer's written instructions. Evidence of failure is the obstruction of vision by dust, moisture, or film on interior surfaces of glass.
     6. Deterioration of Laminated Glass: Defects developed from normal use that are attributed to the manufacturing process and not to causes other than glass breakage and practices for maintaining and cleaning laminated glass contrary to manufacturer's written instructions. Defects include edge separation, delamination materially obstructing vision through glass, and blemishes exceeding those allowed by referenced laminated-glass standard.
  2. PERFORMANCE REQUIREMENTS
     1. General: Provide glazing systems capable of withstanding normal thermal movement and wind and impact loads (where applicable) without failure, including loss or glass breakage attributable to the following: defective manufacture, fabrication, and installation; failure of sealants or gaskets to remain watertight and airtight; deterioration of glazing materials; or other defects in construction.
     2. Glass Design: Glass thickness designations indicated are minimums and are for detailing only. Confirm glass thicknesses by analyzing Project loads and in-service conditions. Provide glass lites in the thickness designations indicated for various size openings, but not less than thicknesses and in strengths (annealed or heat treated) required to meet or exceed the following criteria:
        1. Glass Thicknesses: Select minimum glass thicknesses to comply with ASTM E 1300, according to the following requirements:
           1. Specified Design Wind Loads: As required by Code.
           2. Specified Design Snow Loads for Sloped Glazing: As required by Code.
           3. Probability of Breakage for Vertical Glazing: 8 lites per 1000 for lites set vertically or not more than 15 degrees off vertical and under wind action.
           4. Load Duration: 60 seconds or less.
           5. Probability of Breakage for Sloped Glazing: 1 lite per 1000 for lites set more than 15 degrees off vertical and under wind and snow action.
           6. Load Duration: 30 days.
           7. Maximum Lateral Deflection: For the following types of glass supported on all 4 edges, provide thickness required that limits center deflection at design wind pressure to 1/50 times the short side length or 1 inch, whichever is less.

For monolithic-glass lites heat-treated to resist wind loads.

For insulating glass.

For laminated-glass lites.

* + - * 1. Minimum Glass Thickness for Exterior Lites: Not less than 3 mm.
    1. Thermal Movements: Provide glazing that allows for thermal movements resulting from the following maximum change (range) in ambient and surface temperatures acting on glass framing members and glazing components. Base engineering calculation on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.
       1. Temperature Change (Range): 120 deg F, ambient; 180 deg F, material surfaces.
    2. Thermal and Optical Performance Properties: Provide glass with performance properties specified based on manufacturer's published test data, as determined according to procedures indicated below:
       1. Center-of-Glass Values: Based on using LBL-44789 WINDOW 6.3 computer program for the following methodologies:
          1. U-Factors: NFRC 100 expressed as Btu/ sq. ft. x h x deg F.
          2. Solar Heat Gain Coefficient: NFRC 200.
          3. Solar Optical Properties: NFRC 300.
  1. SUBMITTALS
     1. Product Data: For each glass product and glazing material indicated.
     2. Samples: 12-inch- square Samples for each type of glass and glass assembly, glazing sealants.
     3. Glazing Schedule: Use same designations indicated on Drawings for glazed openings in preparing a schedule listing glass types and thicknesses for each size opening and location.
     4. Product Certificates: Signed by manufacturers of glass and glazing products certifying that products furnished comply with requirements.
        1. For solar-control low-e-coated glass, provide documentation demonstrating that manufacturer of coated glass is certified by coating manufacturer.
     5. Qualification Data: For installers.
     6. Preconstruction Adhesion and Compatibility Test Report: From glazing sealant manufacturer indicating glazing sealants were tested for adhesion to glass and glazing channel substrates and for compatibility with glass and other glazing materials.
     7. Product Test Reports: For each type of glazing products:
     8. Warranties: Special warranties specified in this Section.
  2. QUALITY ASSURANCE
     1. Installer Qualifications: An experienced installer who has completed glazing similar in material, design, and extent to that indicated for this Project; whose work has resulted in glass installations with a record of successful in-service performance..
     2. Source Limitations for Glass: Obtain the following through one source from a single manufacturer for each glass type: clear float glass, laminated glass and insulating glass.
     3. Source Limitations for Glass Sputter-Coated with Solar-Control Low-E Coatings: Where solar- control low-e coatings of a primary glass manufacturer that has established a certified fabricator program is specified, obtain sputter-coated solar-control low-e-coated glass in fabricated units from a manufacturer that is certified by coated-glass manufacturer.
     4. Source Limitations for Glazing Accessories: Obtain glazing accessories through one source from a single manufacturer for each product and installation method indicated.
     5. Elastomeric Glazing Sealant Product Testing: Obtain sealant test results for product test reports in "Submittals" Article from a qualified testing agency based on testing current sealant formulations within a 36-month period.
        1. Sealant Testing Agency Qualifications: An independent testing agency qualified according to ASTM C 1021 to conduct the testing indicated.
        2. Test elastomeric glazing sealants for compliance with requirements specified by reference to ASTM C 920, and where applicable, to other standard test methods.
     6. Preconstruction Adhesion and Compatibility Testing: Submit to elastomeric glazing sealant manufacturers, for testing indicated below, samples of each glazing material type, tape sealant, gasket, glazing accessory, and glass-framing member that will contact or affect elastomeric glazing sealants:
        1. Use ASTM C 1087 to determine whether priming and other specific joint preparation techniques are required to obtain rapid, optimum adhesion of glazing sealants to glass, tape sealants, gaskets, and glazing channel substrates.
        2. Submit not fewer than eight pieces of each type of material, including joint substrates, shims, joint-sealant backings, secondary seals, and miscellaneous materials.
        3. Schedule sufficient time for testing and analyzing results to prevent delaying the Work.
        4. For materials failing tests, obtain sealant manufacturer's written instructions for corrective measures, including the use of specially formulated primers.
        5. Testing will not be required if elastomeric glazing sealant manufacturers submit data based on previous testing of current sealant products for adhesion to, and compatibility with, glazing materials matching those submitted.
     7. Safety Glazing Products: Comply with testing requirements in 16 CFR 1201.
        1. Subject to compliance with requirements, obtain safety glazing products permanently marked with certification label of the Safety Glazing Certification Council or another certification agency] acceptable to authorities having jurisdiction.
        2. Where glazing units, including Kind FT glass and laminated glass, are specified in Part 2 articles for glazing lites more than 9 sq. ft. in exposed surface area of one side, provide glazing products that comply with Category II materials, for lites 9 sq. ft. or less in exposed surface area of one side, provide glazing products that comply with Category I or II materials, except for hazardous locations where Category II materials are required by 16 CFR 1201 and regulations of authorities having jurisdiction.
     8. Glazing Publications: Comply with published recommendations of glass product manufacturers and organizations below, unless more stringent requirements are indicated. Refer to these publications for glazing terms not otherwise defined in this Section or in referenced standards.
        1. GANA Publications: GANA Laminated Division's "Laminated Glass Design Guide" and GANA's "Glazing Manual."
        2. AAMA Publications: AAMA GDSG-1, "Glass Design for Sloped Glazing," and AAMA TIR- A7, "Sloped Glazing Guidelines."
        3. IGMA Publication for Sloped Glazing: IGMA TB-3001, "Sloped Glazing Guidelines."
        4. IGMA Publication for Insulating Glass: SIGMA TM-3000, "Glazing Guidelines for Sealed Insulating Glass Units."
     9. Insulating-Glass Certification Program: Permanently marked either on spacers or on at least one component lite of units with appropriate certification label of the following testing and inspecting agency:
        1. Insulating Glass Certification Council.
     10. Mockups: Build mockups to verify selections made under sample submittals and to demonstrate aesthetic effects and set quality standards for materials and execution.
         1. Build mockup for types of windows indicated, in locations shown on Drawings.
     11. Preinstallation Conference: Conduct conference at Project site to comply with requirements in Division 01.
  3. DELIVERY, STORAGE, AND HANDLING
     1. Protect glazing materials according to manufacturer's written instructions and as needed to prevent damage to glass and glazing materials from condensation, temperature changes, direct exposure to sun, or other causes.
     2. For insulating-glass units that will be exposed to substantial altitude changes, comply with insulating-glass manufacturer's written recommendations for venting and sealing to avoid hermetic seal ruptures.
  4. PROJECT CONDITIONS
     1. Environmental Limitations: Do not proceed with glazing when ambient and substrate temperature conditions are outside limits permitted by glazing material manufacturers and when glazing channel substrates are wet from rain, frost, condensation, or other causes.
        1. Do not install liquid glazing sealants when ambient and substrate temperature conditions are outside limits permitted by glazing sealant manufacturer or below 40 deg F.
  5. WARRANTY
     1. Manufacturer's Special Warranty on Insulating Glass: Manufacturer's standard form, made out to the Owner and signed by insulating-glass manufacturer agreeing to replace insulating-glass units that deteriorate as defined in "Definitions" Article, f.o.b. the nearest shipping point to Project site, within specified warranty period indicated below.
        1. Warranty Period: Ten years.

PART 2 - PRODUCTS

* 1. GLAZING SCHEDULE
     1. Vision Glass Insulated Glazing Units:
        1. GLASS TYPE “X”
           1. Basis of Design: Alpenglass XXXX
           2. Performance Requirements:

Center of Glass U-Factor – Winter: 0.13

Solar Heat Gain Coefficient (SHGC) 0.24

Visible Light Transmission (TVis) 55%

Exterior Reflectivity 12.8%

"Winter" Glass Surface Temp 63° F

* + - * 1. Composition:

Overall IG thickness: 1” nom

Outboard Lite:

Type: Clear float glass with Cardinal low-e 366 on surface #2

Thickness: nominal 1/4” (6mm)

Strength: [Annealed] [Kind FT]

Middle Layer(s): [One (1)] [Two (2)] clear glass panes 1.1mm thick or less.

Inboard Lite:

Type: Clear float glass

Thickness: nominal 1/4” (6mm)

Strength: [Annealed] [Kind FT]

Spacers: HB Fuller Kodispace 4SG **TPS** Spacer System

Secondary Sealant: HB Fuller 920D Silicone

Gas Fill: Each cavity shall be filled with a mixture of [95% Argon] [*specify blend* ] [90% krypton / 10% air].

* + 1. Other glass Types ….
  1. GLASS PRODUCTS
     1. Float Glass: ASTM C 1036, Type I, Quality-Q3, Class I (clear) unless otherwise indicated.
     2. Heat-Treated Float Glass: ASTM C 1048; Type I; Quality-Q3; Class I (clear) unless otherwise indicated; of kind and condition indicated.
        1. Fabrication Process: By horizontal (roller-hearth) process with roll-wave distortion parallel to bottom edge of glass as installed unless otherwise indicated.
        2. For uncoated glass, comply with requirements for Condition A.
        3. For coated vision glass, comply with requirements for Condition C (other coated glass).
     3. Coated Float Glass: Pyrolytic and vacuum deposited coatings on glass in conformance with ASTM C 1376.
     4. Uncoated Tinted Float Glass: Class 2, complying with other requirements specified.
        1. Tint Color: As selected by the Architect.
        2. Visible Light Transmittance: As standard with manufacturer.
     5. Tempered Float Glass: ASTM C 1048; Type I (transparent flat glass); Quality-Q3; Kind FT; 1/4 inch thick unless indicated otherwise.
     6. Insulating-Glass Units, General: Factory-assembled units consisting of sealed lites of glass separated by an gas-filled interspace, and complying with ASTM E2190 and with requirements specified in this Section.
        1. Provide Kind FT (fully tempered) float glass in place of annealed glass where needed to resist thermal stresses induced by differential shading of individual glass lites and to comply with glass design requirements specified in Part 1 “Performance Requirements” paragraph.
        2. Provide Kind FT (fully tempered) glass lites where safety glass is indicated.
        3. Overall Unit Thickness and Thickness of Each Lite: Dimensions indicated for insulating- glass units are nominal and the overall thicknesses of units are measured perpendicularly from outer surfaces of glass lites at unitʼs edge.
        4. Sealing System:
           1. Manufacturerʼs Standard Sealants. Silicone secondary sealants. Secondary sealant shall cover entire spacer bar at IGU perimeter.
        5. Spacer Specifications: Manufacturerʼs standard spacer material. Spacer corners shall be bent, soldered, or welded. Keyed spacer corners will not be accepted.
     7. Ceramic-Coated Spandrel Glass: ASTM C 1048, Condition B, Type I, Quality-Q3, and complying with other requirements specified.
        1. Glass: Clear float.
        2. Ceramic Coating Color: Custom color as selected by the Architect.
  2. GLAZING SEALANTS
     1. General: Provide products of type indicated, complying with the following requirements:
        1. Compatibility: Verify glazing sealants that are compatible with one another and with other materials they will contact, including glass products, seals of insulating-glass units, interlayer of laminated glass, and glazing channel substrates, under conditions of service and application, as demonstrated by sealant manufacturer based on testing and field experience.
        2. Suitability: Comply with sealant and glass manufacturers' written instructions for selecting glazing sealants suitable for applications indicated and for conditions existing at time of installation.
        3. Colors of Exposed Glazing Sealants: As selected by Architect from manufacturer's full range.
        4. Adhesives and sealants that are used inside the weatherproofing system shall comply with the following limits for VOC content when calculated according to 40 CFR 59, Subpart D (EPA Method 24):
           1. Structural Glazing Adhesives: 100 g/L.
           2. Architectural Sealants: 250 g/L.
     2. Elastomeric Glazing Sealants: Comply with ASTM C 920 and other requirements indicated for each liquid-applied chemically curing sealant specified, including those referencing ASTM C 920 classifications for type, grade, class, and uses related to exposure and joint substrates.
        1. Single-Component Neutral- and Basic-Curing Silicone Glazing Sealants:
           1. Dow Corning Corporation; 790.
           2. GE Silicones; SilPruf LM SCS2700
           3. Tremco Inc.; Spectrem 1.

2.4 GLAZING TAPES

1. Back-Bedding Mastic Glazing Tapes: Preformed, butyl-based elastomeric tape with a solids content of 100 percent; nonstaining and nonmigrating in contact with nonporous surfaces; with or without spacer rod as recommended in writing by tape and glass manufacturers for application indicated; packaged on rolls with a release paper backing; and complying with ASTM C 1281 and AAMA 800 for project conditions.
2. Expanded Cellular Glazing Tapes: Closed-cell, PVC foam tapes; factory coated with adhesive on both surfaces; packaged on rolls with release liner protecting adhesive; and complying with AAMA 800 for the following types:
   1. Type 1, for glazing applications in which tape acts as the primary sealant.
   2. Type 2, for glazing applications in which tape is used in combination with a full bead of liquid sealant.
   3. MISCELLANEOUS GLAZING MATERIALS
      1. General: Provide products of material, size, and shape complying with referenced glazing standard, requirements of manufacturers of glass and other glazing materials for application indicated, and with a proven record of compatibility with surfaces contacted in installation.
      2. Cleaners, Primers, and Sealers: Types recommended by sealant or gasket manufacturer.
      3. Setting Blocks: Elastomeric material with Shore, Type A durometer hardness 85, plus or minus 5.
      4. Spacers: Elastomeric blocks or continuous extrusions with a Shore, Type A durometer hardness required by glass manufacturer to maintain glass lites in place for installation indicated.
      5. Edge Blocks: Elastomeric material of hardness needed to limit glass lateral movement (side walking).
      6. Perimeter Insulation for Fire-Resistive Glazing: Identical to product used in test assembly to obtain fire-resistance rating.
   4. FABRICATION OF GLAZING UNITS
      1. Fabricate glazing units in sizes required to glaze openings indicated for Project, with edge and face clearances, edge and surface conditions, and bite complying with written instructions of product manufacturer and referenced glazing publications, to comply with system performance requirements.
      2. Clean-cut or flat-grind vertical edges of butt-glazed monolithic lites in a manner that produces square edges with slight kerfs at junctions with outdoor and indoor faces.
      3. Grind smooth and polish exposed glass edges and corners.

PART 3 - EXECUTION

* 1. EXAMINATION
     1. Examine framing glazing, with Installer present, for compliance with the following:
        1. Manufacturing and installation tolerances, including those for size, squareness, and offsets at corners.
        2. Presence and functioning of weep system.
        3. Minimum required face or edge clearances.
        4. Effective sealing between joints of glass-framing members.
     2. Proceed with installation only after unsatisfactory conditions have been corrected.
  2. PREPARATION
     1. Clean glazing channels and other framing members receiving glass immediately before glazing. Remove coatings not firmly bonded to substrates.
  3. GLAZING, GENERAL
     1. Comply with combined written instructions of manufacturers of glass, sealants, gaskets, and other glazing materials, unless more stringent requirements are indicated, including those in referenced glazing publications.
     2. Glazing channel dimensions, as indicated on Drawings, provide necessary bite on glass, minimum edge and face clearances, and adequate sealant thicknesses, with reasonable tolerances. Adjust as required by Project conditions during installation.
     3. Protect glass edges from damage during handling and installation. Remove damaged glass from Project site and legally dispose of off Project site. Damaged glass is glass with edge damage or other imperfections that, when installed, could weaken glass and impair performance and appearance.
     4. Apply primers to joint surfaces where required for adhesion of sealants, as determined by preconstruction sealant-substrate testing.
     5. Install setting blocks in sill rabbets, sized and located to comply with referenced glazing publications, unless otherwise required by glass manufacturer. Set blocks in thin course of compatible sealant suitable for heel bead.
     6. Do not exceed edge pressures stipulated by glass manufacturers for installing glass lites.
     7. Provide spacers for glass lites where length plus width is larger than 50 inches as follows:
        1. Locate spacers directly opposite each other on both inside and outside faces of glass. Install correct size and spacing to preserve required face clearances, unless gaskets and glazing tapes are used that have demonstrated ability to maintain required face clearances and to comply with system performance requirements.
        2. Provide 1/8-inch minimum bite of spacers on glass and use thickness equal to sealant width. With glazing tape, use thickness slightly less than final compressed thickness of tape.
     8. Provide edge blocking where indicated or needed to prevent glass lites from moving sideways in glazing channel, as recommended in writing by glass manufacturer and according to requirements in referenced glazing publications.
     9. Set glass lites in each series with uniform pattern, draw, bow, and similar characteristics.
     10. Wall-Mounted Mirrors: Install mirrors with mastic and mirror hardware. Attach mirror hardware securely to mounting surfaces with mechanical fasteners installed with anchors or inserts as applicable. Install fasteners so heads do not impose point loads on backs of mirrors.
  4. TAPE GLAZING
     1. Position tapes on fixed stops so that, when compressed by glass, their exposed edges are flush with or protrude slightly above sightline of stops.
     2. Install tapes continuously, but not necessarily in one continuous length. Do not stretch tapes to make them fit opening.
     3. Cover vertical framing joints by applying tapes to heads and sills first and then to jambs. Cover horizontal framing joints by applying tapes to jambs and then to heads and sills.
     4. Place joints in tapes at corners of opening with adjoining lengths butted together, not lapped. Seal joints in tapes with compatible sealant approved by tape manufacturer.
     5. Do not remove release paper from tape until just before each glazing unit is installed.
     6. Center glass lites in openings on setting blocks and press firmly against tape by inserting dense compression gaskets formed and installed to lock in place against faces of removable stops. Start gasket applications at corners and work toward centers of openings.
  5. SEALANT GLAZING (WET)
     1. Install continuous spacers, or spacers combined with cylindrical sealant backing, between glass lites and glazing stops to maintain glass face clearances and to prevent sealant from extruding into glass channel and blocking weep systems until sealants cure. Secure spacers or spacers and backings in place and in position to control depth of installed sealant relative to edge clearance for optimum sealant performance.
     2. Force sealants into glazing channels to eliminate voids and to ensure complete wetting or bond of sealant to glass and channel surfaces.
     3. Tool exposed surfaces of sealants to provide a substantial wash away from glass.
  6. CLEANING AND PROTECTION
     1. Protect exterior glass from damage immediately after installation by attaching crossed streamers to framing held away from glass. Do not apply markers to glass surface. Remove nonpermanent labels, and clean surfaces.
     2. Protect glass from contact with contaminating substances resulting from construction operations, including weld splatter. If, despite such protection, contaminating substances do come into contact with glass, remove substances immediately as recommended by glass manufacturer.
     3. Examine glass surfaces adjacent to or below exterior concrete and other masonry surfaces at frequent intervals during construction, but not less than once a month, for buildup of dirt, scum, alkaline deposits, or stains; remove as recommended in writing by glass manufacturer.
     4. Remove and replace glass that is broken, chipped, cracked, or abraded or that is damaged from natural causes, accidents, and vandalism, during construction period.

END OF SECTION